## Sheet1
Manufacturer | Description | Part No. | Stock | ALT Part No.
Dialight/Protek | 2' LED Linear, 100-277VAC, 3850 Lumen, 5000K, Zone 2 | LPD3C4D2P | Yes
Dialight/Protek | 4' LED Linear, 100-277VAC, 7300 Lumen, 5000K, Zone 2 | LPD3C4M2P | Yes
Dialight/Protek | Mounting Bracket for Above | LPXW4 | Yes
Dialight/Protek | 4' Battery Backup, 100-277VAC, 7300 Lumen, Zone 2, 120min backup | LSD3C4MEP | Yes
Dialight/Protek | Mounting Bracket for Above | LSXW4 | Yes
Dialight/Protek | LED High Bay, 102W, 100-277VAC, 14,250 Lumen, 5000K, Zone 2 | HED7MC2CNNWNGN | Yes
Dialight/Protek | LED High Bay, 129W 100-277VAC, 19,500 Lumen, 5000K, Zone 2 | HED7MC2ENNWNGN | Yes
Dialight/Protek | 2' LED Linear, 34W, 100-277VAC, 3600 Lumen, Zone 1 | LSC3C4D3GEX | Yes
Dialight/Protek | 4' LED Linear, 68W, 100-277VAC, 7250 Lumen, Zone 1 | LSC3C4M3GEX | Yes
Dialight/Protek | Mounting Bracket for Above | LSXW5 | Yes
Dialight/Protek | LED Highbay, 129W, 16000/19500, 5000K, Zone 1 | HEC7MC2CNNWNGN | Yes
Dialight/Protek | LED flood light, 81W, 12000 Lumen, 5000K, Zone 2, 100-277VAC | F1D76B2BDENVGN | Yes
Dialight/Protek | LED flood light, 124W, 18000 Lumen, 5000K, Zone 2, 100-277VAC | F1D76B2CDENVGN | Yes
Dialight/Protek | LED flood light, 175W, 24000 Lumen, 5000K, Zone 2, 100-277VAC | F1D76B2EDENVGN | Yes
Dialight/Protek | 2 3/8" Tennon Topper | FLX-1TPT-20DB | Yes
Dialight/Protek | LED Area Light, 5000k,100-277VAC, pendant/wall/stanchion mount, 30W, 3800 Lumen, Zone 2 | ALD5BC24NNWNGN | Yes
Dialight/Protek | LED Area Light, 5000k,100-277VAC, pendant/wall/stanchion mount, 40W, 5400 Lumen, Zone 2 | ALD5BC26NNWNGN | Yes
Dialight/Protek | LED Area Light, 5000k,100-277VAC, pendant/wall/stanchion mount, 52W, 7000 Lumen, Zone 2 | ALD5BC27NNWNGN | Yes
Dialight/Protek | LED Area Light, 5000k,100-277VAC, pendant/wall/stanchion mount, 66W, 8600 Lumen, Zone 2 | ALD5BC29NNWNGN | Yes
Dialight/Protek | LED Area Light, 5000k,100-277VAC, pendant/wall/stanchion mount, 40W, 5400 Lumen, Zone 2 | ALD5BC26NNWNGN | Yes
Dialight/Protek | LED Area Light, 5000k,100-277VAC, pendant/wall/stanchion mount, 52W, 7000 Lumen, Zone 2 | ALD5BC27NNWNGN | Yes
Dialight/Protek | LED Area Light, 5000k,100-277VAC, pendant/wall/stanchion mount, 66W, 8600 Lumen, Zone 2 | ALD5BC29NNWNGN | Yes
Dialight/Protek | Mounting bracket, adjustable 15°/30°/45°/90° | HZXW3 | Yes
Dialight/Protek | Mounting bracket, adjustable, stanchion mount slip fitter, 1 1/2 inch | HZXW3 & STAN150S | Yes
Dialight/Protek | CROUSE RETROFIT Top Hat | HZXTHCH | Yes
Dialight/Protek | APPLETON RETROFIT Top Hat | HZXTHAP | Yes
Dialight/Protek | KILLARK RETROFIT Top Hat | HZXTHKL | Yes
Ready-lite-Protek | Ready-Lite Pictogram Sign 6V, 27Watt Alum Combo Pictogram Class 1 Div 2 | RHCG6L36LD1 | Yes
NaturaLED/Protek | 4' LED Linear, 44W, 120VAC, 80CRI | FXCSL44SW/48FR/8CCT3/MV | Yes | FXCSL44SW/48FR/8CCT3/347
NaturaLED/Protek | Emergency Light, Dual Head, 120VAC, 3W, 120min Backup | EC222WH-A13BB-GU-4 | Yes | EC302WHM-A13-BB-GU-10RC
Protek | Universal Display Module, Dual channel, 4-20 Pass Through, heated optics, works with SEC and Detcon | UDM-002 | Yes | ADDING UDM-MWO ?
Protek | Universal Display Module, Single Channel, 4-20 Pass Through, heated optics, works with SEC and Detcon | UDM-001 | Yes
SEC/Protek | Millenium Hydrocarbon (Methane), 0-100% LEL, 4-20mA, Stainless Steel, Heated Optics -40°C to +70°C, Zone 1, Zone 2 Factory Sealed No Cal Required | 490 000 00 100 FL 12 | Yes | 49000000100-L12E
SEC/Protek | SEC 3000 H2S Detector, 0-100PPM, 4-20mA, Stainless Steel, Zone 1, Zone 2 Factory Sealed | 3024D0100FMHO12 | Yes | 30240D0100FMH0012-CAL50
ADD THIS | Calibration Cup / Splash Guard |  |  | CC/SG-02
SEC/Protek | for SEC3000 Series - Non-Metal | UNV-SEPKIT-001 | Yes
FGD/Protek | UV/IR Detector, Zone 1, 0-20mA, hydrogen & hydrocarbon, advanced false immunity, Built-in-test | FLS-UV-IR-AS21 | Yes
FGD/Protek | Bracket for Above | FLS-TMO-S01 | Yes
FGD/Protek | IR3 Flame Detector, Zone 1, 0-20mA, Built-in-Test, Advanced False Immunity | FLS-IR3-AS21 | Yes
FGD/Protek | Bracket for Above | FLS-TMO-S01 | Yes
FGD/Protek | IR3 HD camera Flame Detector, Zone 1, 0-20mA, Relays, Built-in-Test, Advanced False Immunity, HD Camera w/ Event Logger | FLS-IR3-HD-AS21 | Yes
FGD/Protek | Bracket for Above | FLS-TMO-S02 | Yes
FGD/Protek | UV/IR Detector, Zone 1, 0-20mA, Relay Contact, Hydrogen & Hydrocarbon, Methanol & Glycol Fire Detection, Advanced false immunity, Built-in-test | FLS-UV-IR-HD-AS21 | Yes
FGD/Protek | Bracket for Above | FLS-TMO-S02 | Yes
E2S | E2S LED Alarm Beacon, Class 1, Zone 2, 24VDC, cUL approved, Blue | D2xB1LD2DC024MN1A1G/B | Yes
E2S | E2S LED Alarm Beacon, Class 1, Zone 2, 24VDC, cUL approved, Red | D2xB1LD2DC024MN1A1G/R | Yes
E2S | E2S LED Alarm Beacon, Class 1, Zone 2, 24VDC, cUL approved, Amber | D2xB1LD2DC024MN1A1G/A | Yes
E2S | E2S LED Alarm Beacon, Class 1, Zone 1, 24VDC, cUL approved, Blue | D1xB2LD2AC024MN1A1G/B | Yes
E2S | E2S LED Alarm Beacon, Class 1, Zone 1, 24VDC, cUL approved, Red | D1xB2LD2AC024MN1A1G/R | Yes
E2S | E2S LED Alarm Beacon, Class 1, Zone 1, 24VDC, cUL approved, Amber | D1xB2LD2AC024MN1A1G/A | Yes
E2S | E2S Model D2xS1 Alarm Horn, Multitone (4 Stages / Channels), 64 Dip Switch Selectable Tones, 10-30V DC, 1 x 1/2" NPT Entry included M20 to 1/2" Converter, Class 1 Div 2 | D2XS1DC024EN1A1G | Yes
Hazloc Heaters/Protek | Electric Heater, 5kW, 480VAC, 3Ø, 60Hz, Zone 1 W/ THERMOSTAT | XEU1-12-050-600360 | Yes | XEU1-12-050-480360-B-Y-B, T2
Hazloc Heaters/Protek | Electric Heater, 7.5kW, 480VAC, 3Ø, 60Hz, Zone 1 W/ THERMOSTAT | XEU1-12-075-600360 | Yes | XEU1-12-075-480360-B-Y-B, T2
Hazloc Heaters/Protek | Electric Heater, 10kW, 480VAC, 3Ø, 60Hz, Zone 1 W/ THERMOSTAT | XEU1-12-100-600360 | Yes | XEU1-12-100-480360-B-Y-B, T2
Hazloc Heaters/Protek | Electric Heater, 15kW, 480VAC, 3Ø, 60Hz, Zone 1 W/ THERMOSTAT | XEU1-12-150-600360 | Yes | XEU1-16-150-480360-B-Y-B, T2